| Health Facility Committee Meeting Minutes |
| --- |
| november 8, 2023 | 9:00am – 12:00pm | VIRTUAL MEETING | gOOGLE MEETS |
| members present | Abe Lindman, Cory Robison, Dr. David Sundwall, Debora Escalante, Douglas Banks, Jennifer Webb, Jeremy Bradshaw, Kris Carter, Seraphine Kapsandoy Jones & Steve Grant |
| members not present | Chris Etherington |
| staff present | Simon Bolivar, Kimberlee Jessop, Kristi Grimes, Janice Weinman. Daphne Lynch, Kelly Criddle, Sarah Atherton & Andrew Baxter |
| special guests | Alianne Sipes, Rey Alonzo |
| welcome | Abe Lindman |
| Review and Approval of September 13, 2023 minutes. Jennifer Webb motioned to approve the minutes, Dr. David Sundwall seconded the motion. |
| OLD BUSINESS |
| update | rules in process | kristi grimes |
| Update on rule R432-35 Background Screening R432-35-7 Volunteers Current Language The following individuals or groups of volunteers are not required to complete the certification for direct patient access process: clergy; religious groups; entertainment groups; resident family members; patient family members; and individuals volunteering services for 20 hours per month or less. Proposed Language The following individuals or groups of volunteers are not required to complete the certification for direct patient access process: clergy; religious groups; entertainment groups; resident family members; patient family members; and individuals volunteering services as long as they are directly supervised by a covered individual. This does not include CMS certified hospice agencies. The federal certification for hospice agencies is a higher standard and anyone with direct access to the patients/residents has to complete a background check. The hospice certification information can be added to the rule or it can be added to the rule interpretation guideline/manual stating that if you are a CMS certified hospice agency, the requirement is higher. Daphne is going to add the definition of directly supervised to R432-35 so everyone will be aware of the exact meaning. Dr. David Sundwall motioned to approve the rule as written with the addition of the definition for directly supervised. Jennifer Webb seconded the motion. All other committee members were in favor. |
|  | Rule amendments status as of 11.8.23 | jANICE WEINMAN |
| Rule 432-1 – posted pending activation Rule 432-8 – done Rule 432-10 – held up with legal Rule 432-11 – done Rule 432-12 – posted pending activation Rule 432-13 – Rule 432-14 – done Rule 432-15 – held up with legal Rule 432-16 – done Rule 432-100 – under final review Rule 432-101 – Rule 432-102 – done Rule 432-103 – held up with legal Rule 432-104 – Rule 432-105 – Rule 432-106 – done Rule 432-107 – Rule 432-108 – under final review Rule 432-150 - posted pending activation Rule 432-151 – held up with legal Rule 432-152 – posted pending activation Rule 432-153 – held up with legal Rule 432-2 – posted pending activation Rule 432-200 – under final review Rule 432-201 – done Rule 432-270 – Rule 432-3 – posted pending activation Rule 432-31 – Rule 432-32 – Rule 432-35 – Rule 432-300 – done Rule 432-4 – held pending further notice Rule 432-40 – Rule 432-45 – held up with legal Rule 432-500 – done Rule 432-550 – Rule 432-6 – held up with legal Rule 432-600 – Rule 432-650 – held pending further notice Rule 432-7 – held up with legal Rule 432-700 – done Rule 432-725 – Rule 432-750 – held up with legal Rule 432-8 – Rule 432-9 – done Rule 432-950 -held up with legal Rule 381-100 - Rule 381-60 - Rule 381-70 - Rule 381-40 – posted pending activation Rule 430-90 - Rule 430-50 - Rule 430-8 – posted pending activation Rule 501-1 – Rule 501-20 – posted pending activation Rule 501-3 - Rule 501-14 – Rule 501-19 – Rule 501-21 - Rule 501-22 – under final review Rule 495-876 – under final review Rule 495-885 – posted pending activation |
| r432-4 general construction jANICE WEINMan Rule Update Summary: R432-4 General Construction Overview The consolidation of two departments into the Department of Health and Human Services in July 2022 necessitated addressing every health care facility rule over the past year. While the majority of the rule updates haven’t had any substantive changes requiring your attention, Rule R432-4 reflects internal and industry changes that we want to share with you. We did a full repeal and reenact to make reading the new content easier. The stricken content in the beginning is the old rule content and underlined content is the re-write. The actual requirements of R432-4 have not changed, but instead of having construction standards scattered across many health care facility rules, we reference “construction plans review” as outlined in R432-4-8 as the central location for all standards and guidelines. R432-4-5(1) introduces a rule interpretation manual that will now be the place to find any standards and guidelines that apply to the construction plan review of each type of facility. It additionally provides compliance guidance, levels of risk and explains why the rule is necessary and how it’s enforced. This filing will amend the existing rule as follows: Streamlines and clarifies rule content by removing materials that were incorporated by reference in rule and moves them to the rule interpretation manual. This provides more flexibility for application of building standards and guidelines and allows OL to use the most current standards and guidelines without implementing rule changes. As we reviewed the rule, our subject matter experts identified content that was out of date or no longer relevant to industry standards. Updates will reflect current construction standards and guidelines. The update will also remove unnecessary language and make the rule more clear and understandable. Complies with the 2021 Governor’s order that mandated compliance with rule writing manual standards. Complies with 2022 legislation consolidating Department statutes. All statute references in every rule have been updated to reflect the new DHHS statutes. R432. Health and Human Services, Health Care Facility Licensing. R432-4. General Construction. R432-4-. Authority. This rule is authorized by Section 26B-2-202. R432-4-2. Purpose. The purpose of this rule is to promote the health and welfare of individuals receiving services by establishing construction requirements. R432-4-3. Definitions. (1) Definitions of Rule R432-1 additionally apply. (2) “Department Plans Review” means the department’s review of construction documents describing the design, location, function, use, physical characteristics, and standards of a project for new construction, as defined in Rule R432-1. (3) “Licensee is defined in Rule R432-1 and additionally includes a license applicant. R432-4. General Design. (1) The licensee shall maintain documentation of testing and certification compliance for department review. (2) Additional requirements for individual health care facility license categories are included in the individual category construction rule sections of the health facility licensure rules under Title R432. If a conflict exists between Rule R432-4 and an individual category rule, the individual category rule shall apply. (3) If a conflict exists between applicable codes or requirements, the most restrictive shall apply. (4) The licensee shall ensure the building complies with the functional requirements for the applicable licensure classification and shall ensure provisions are made for any facilities and equipment necessary to meet the care and safety needs of each client when construction is completed. (5) The licensee shall ensure that a space that is specifically identified as a room or office in any license category governed by rule R432-4 is specifically utilized for that purpose, and that multiple services are only accommodated in an area that is not specifically identified as a room or office. (6) The licensee shall ensure compliance with each applicable law, ordinance, code and building standard before occupying any space to provide healthcare services to a patient or client. (7) Americans with Disabilities Act Standards for Accessible Design (ADASAD), 2010 edition is incorporated by reference, and applies to each licensee governed by Rule R432-4, except as otherwise modified, in accordance with the Americans with Disabilities Act of 1990, 42 U.S.C. 12101 (ADA). R432-4-5. Site Location and Design. (1) The licensee shall ensure: (a) the site of the licensed facility is accessible to both community and service vehicles, including fire protection equipment; (b) public utilities are available; (c) paved roads provide access to each entrance, service dock and for fire protection equipment to access each exterior wall; and (d) paved walkways accommodate pedestrian traffic from every required exit to a dedicated public way. (2)(a) A licensee that provides an emergency department shall provide well marked emergency access to facilitate entry from public roads serving the site. (b) The licensee shall ensure vehicular or pedestrian traffic does not conflict with access to the emergency service area. (c) The licensee shall ensure the emergency entrance is covered to protect patients from the weather during transfer from automobile or ambulance. R432-4-6. Parking. (1) The licensee shall provide parking in accordance with local zoning ordinances. (2) The licensee shall ensure parking spaces for disabled a person are ADASAD-compliant, and parking spaces are directly accessible to the facility without the need to go behind parked cars or cross vehicle traffic lanes. R432-4-7. Environmental Pollution Control. The licensee shall obtain environmental clearances and permits from local jurisdictions and the Utah Department of Environmental Quality in compliance with 42 U.S.C. 4321, the National Environment Policy Act to develop the site and project to minimize any adverse environmental effects on the neighborhood and community. R432-4-8. Standards and Codes Compliance. (1) In addition to compliance with rules under Title R432, the licensee shall obtain documentation of compliance for the following codes or requirements from the authority having jurisdiction and submit to the department: (a) local zoning ordinances; (b) ADASAD compliance; (c) Title 15A, State Construction and Fire Codes Act incorporated by reference at Subsection 15A-2-103(1)(a) regarding: (i) International Building Code; (ii) International Plumbing Code; (iii) International Fire Code; (iv) International Mechanical Code; and (v) National Electrical Code. (2)(a) The licensee shall obtain a certificate of occupancy from the local building official having jurisdiction. (b) The licensee shall obtain a certificate of fire clearance from the fire marshal having jurisdiction. (c) The licensee shall submit a copy of the certificates to the department and obtain licensure before resident utilization of newly constructed facilities, additions, or remodels of existing facilities. (d) The licensee shall separate health care occupancies from non-health care occupancies. R432-4-9. New Construction, Additions and Remodeling. (1) The licensee shall ensure that new construction, repair, alteration work, additions, and remodels to existing structures, comply with department rules in effect on the date the schematic drawings are submitted to the department. (2) If the remodeled area or addition in any building, wing, floor, or service area of a building exceeds 50% of the total square foot area of the building, wing, floor, or service area, then the licensee shall ensure the entire building, wing, floor, or service area is brought into compliance with codes and rules governing new construction that are in effect on the date the schematic drawings are submitted to the department. (3) During new construction, additions and remodels, the licensee shall maintain the safety level that existed before the start of work. (4) The licensee shall maintain any documentation of compliance with codes, rules, and standards. (5) The licensee shall ensure that projects involving remodeling or additions to existing buildings are scheduled and phased to minimize disruption to the occupants of facilities and to protect the occupants against construction traffic, dust, and dirt from the construction site. R432-4-10. Existing Building Licensure. (1) The licensee shall ensure that an existing building conforms to department construction rules in effect at the time of original facility licensure. (2) The licensee shall comply with requirements for new construction for: (a) an existing, currently licensed building being licensed for a new classification; (b) a previously licensed building being licensed for a new classification; or (c) a building whose license has lapsed. R432-4-11. Campus and Contract Facilities. The licensee shall ensure any housing, treatment, diagnostic areas and facilities utilized by a patient are constructed in accordance with the requirements of Rule R432-4 if: (1) the area will be used by a patient who is physically or mentally incapable of taking independent life-saving action in an emergency; (2) the prescribed or administered treatment makes the patient incapable of taking independent life-saving action in an emergency; or (3) the patient is incapable of taking independent life-saving action in an emergency due to physical or chemical restraints. R432-4-12. Department Plans Review. (1) Before submitting documents for plans review, the licensee shall schedule a conference with department representatives, the licensee's architect, and the licensee to outline the required plans review process. (2) The licensee shall submit the following for department review: (a) a functional program as outlined in Section R432-4-13; (b) schematic drawings; (c) design development drawings; (d) working drawings; and (e) specifications. (3) The licensee shall ensure that the seal of a Utah licensed architect is affixed to any working drawings and specifications for new construction, additions, or remodeling, in compliance with Section 58-3a-602. (4) The licensee shall pay a plans review fee and construction inspection fee in accordance with the fee schedule approved by the Legislature. (5) Plans approval by the department does not relieve the licensee of responsibility for full compliance with Rule R432-4. (6) Plans approval expires 12 months after the date of the department's approval letter, or the latest plan review response letter if construction has not commenced. Once approval expires, the work may not proceed until the licensee: (a) resubmits plans; (b) submits a new plan review fee; and (c) obtains a new letter of approval from the department. R432-4-13. Functional Program. (1) The licensee shall ensure the functional program includes the following: (a) the purpose and proposed license category of the facility; (b) services offered, including a detailed description of each service; (c) ancillary services required to support each function or program; (d) departmental relationships; (e) services offered under contract by outside providers and the required in-house facilities to support these services; (f) services shared with other licensure categories or functions; (g) a description of anticipated inpatient workloads; (h) a description of anticipated outpatient workloads; (i) physical and mental condition of intended patients; (j) patient age range; (k) ambulatory condition of intended patients, including non-ambulatory, mobile, or ambulatory; (l) type and use of general or local anesthetics; (m) use of physical or chemical restraints; (n) special requirements that could affect the building; (o) area requirements for each service offered, stated in net square feet; (p) seclusion treatment rooms, if provided, including staff monitoring procedures; (q) exhaust systems, medical gasses, laboratory hoods, filters on air conditioning systems, and other special mechanical requirements; (r) special electrical requirements; (s) x-ray facilities, nurse call systems, communication systems, and other special systems; (t) a list of specialized equipment that could require special dedicated services or special structures; (u) a description of how essential core services will accommodate increased demand, if a building is designed for expansion; (v) inpatient services, treatment areas, or diagnostic facilities planned or anticipated to be housed in other buildings; (w) the construction type of any other buildings; (x) protections for the patient during transport between buildings; and (y) an infection control risk assessment to determine the need for the number and types of isolation rooms R432-4-14. Drawings. (1) The licensee shall ensure that drawings show any equipment necessary for the operation of the facility. (2) Schematic drawings may be single line and the licensee shall ensure that they contain the following information: (a) list of applicable building codes; (b) location of the building on the site and access to the building for public, emergency, and service vehicles; (c) site drainage; (d) any unusual site conditions, including easements that might affect the building; (e) relationships of departments to each other, to support facilities, and to common facilities; (f) relationships of rooms and areas within departments; (g) number of inpatient beds; and (h) total building area or area of additions or remodeled portions. (3) The licensee shall ensure design development drawings are drawn to scale and contain the following information: (a) room sizes; (b) type of construction using the International Building Code classifications; (c) site plan, showing relationship to streets and vehicle access; (d) outline specification; (e) location of fire walls, corridor protection, fire hydrants, and other fire protection equipment; (f) location and size of any public utilities; (g) types of mechanical, electrical, and auxiliary systems; and (h) designations for the installation of equipment that requires dedicated building services, special structure or that require a major function of space. (4)(a) The licensee shall ensure working drawings include any previously submitted drawings and specifications. (b) The licensee shall provide one copy of completed working drawings and specifications to the department. (c) Within 30 days after receipt of the required documentation and plan review fee, the department shall provide a written report of modifications required to comply with construction standards. (d) The licensee shall submit any revised plans for review and final department approval in response to a department-requested modification requirement. R432-4-15. Construction Inspections. (1) The department may conduct interim inspections during construction. (2) The licensee shall schedule a final construction inspection with the department when the project is complete and furnishings and equipment are in place before utilization. R432-4-16. Construction Without Plans Approval. (1) If construction is commenced before the department issues the plans approval, the department may issue a license and approve occupancy only after as-built drawings have been approved by the department and the department has conducted a construction inspection. (2) The licensee shall correct any noncompliant items and pay the full department plans review fee and inspection fee in accordance with the established fee schedule before licensure and patient occupancy. R432-4-17. Existing Buildings Without Plans. (1) If plans are not available for existing buildings, or for facilities requesting an initial license or license category change, the licensee may submit to the department the following information: (a) a functional program described in Section R432-4-13; and (b) a report identifying modifications to the building required to bring it into compliance with construction rules for the requested licensure category. (2) The department shall review the material submitted and provide a letter of approval or rejection to the licensee. The department may provide a report of modifications required to comply with construction standards. (3) The licensee shall request and schedule a department follow-up inspection upon completion of modifications. (4) Before a final department inspection, the licensee shall pay an inspection fee in accordance with the fee schedule approved by the Legislature. R432-4-18. Outpatient Unit Features. (1) If a building entrance is used to reach outpatient services, the licensee shall ensure: (a) the entrance is at grade level, clearly marked, and located to minimize the need for outpatients to traverse other program areas; and (b) the outpatient surgery discharge location provides protection from the weather by canopies that extend from the building to permit sheltered transfer to a vehicle. (2) A licensee may utilize a shared lobby in a multi-occupancy building, if the design prohibits unrelated traffic within or through units or suites of the licensed health care facility. R432-4-19. General Construction. (1) This section supersedes any design and construction standards or requirements. (2) The licensee shall ensure compliance with the physical facility and construction requirements as follows: (a) yard equipment and supply storage areas are located so that equipment may be moved directly to the exterior without passing through building rooms or corridors; (b) sanitary storage and treatment areas are provided for the disposal of each category of waste, including hazardous and infectious wastes using techniques acceptable to the Utah Department of Environmental Quality, and the local health department; (c) windows, in rooms intended for 24-hour occupancy, open to the building exterior or to a courtyard that is open to the sky and windows: (i) are equipped with insect screens; (ii) operation is restricted to a maximum opening of six inches to prevent escape or suicide; and (iii) openings are restricted regardless of the method of operation or the use of tools or keys; (d) trash chutes, laundry chutes, dumb waiters, elevator shafts, and other similar systems do not pump contaminated air into clean areas; (e) any public and patient toilet and bath areas have grab bars that are ADASAD-compliant; (f) each patient handwashing fixture has a mirror; (g) patient toilet and bathrooms that are required to be accessible to individuals utilizing wheelchairs have mirrors installed at appropriate heights and are ADSAD-compliant; (h) if showers or tubs contain soap dishes or shelves, they are recessed; (i) cubicle curtains and draperies are affixed to permanently mounted tracks or rods. Portable curtains or visual barriers are not permitted; (j) floors and bases of kitchens, toilet rooms, bathrooms, janitor's closets, and soiled workrooms are homogenous and coved, and other areas subject to frequent wet cleaning have coved bases that are tight fitting to the floor; (k) acoustical treatment for sound control is provided in areas where sound control is needed, including corridors in patient areas, nurse stations, dayrooms, recreation rooms, dining areas, and waiting areas; (l) carpet and padding in institutional occupancy patient areas, except public lobbies and offices is stretched taut and free of loose edges to prevent tripping; (m) signs are provided as follows: (i) there are general and circulation direction signs in corridors; (ii) there is identification on or by the side of each door; and (iii) there are emergency evacuation directional signs; (n) elevators intended for patient transport are able to accommodate a gurney with attendant and have minimum inside cab dimensions of 5'8" wide by 8'5" deep and a minimum clear door width of 3'8"; (o) any room and occupied area in the facility provides for ventilation as follows: (i) natural window ventilation may be used for ventilation of non-sensitive areas and patient rooms when weather conditions permit; (ii) mechanical ventilation is provided during periods of temperature extremes; (iii) bottoms of ventilation openings are located at least three inches above the floor; (iv) supply and return systems are in ducts; (v) common returns using corridors or attic spaces as plenums to recycle air are prohibited; (vi) air may be recycled through plenum returns for heating, ventilation, and air conditioning (HVAC) systems serving only nonpatient care areas; and (vii) evaporative cooling where the airstream is exposed to a wet coil, a mat, or an open reservoir, are prohibited except for laundry processing areas and kitchen hoods that provide 100% exhaust air; (p) except in general hospitals, specialty hospitals, and nursing care facilities, hot water recirculation is not required if the linear distance along the supply pipe from the water heater to the fixture does not exceed 50 feet; (q) bedpan washing devices may be deleted from inpatient toilet rooms where a separate and specific soiled utility room is located within the unit that includes bedpan washing capability; (r) building sewers discharge into a community sewer system, if a community system is not available, the licensee shall treat its sewage in accordance with local requirements and Utah Department of Environmental Quality requirements; (s) dishwashers and other kitchen food storage and cooking appliances are National Sanitation Foundation, (NSF) approved and have the NSF seal affixed; (t) electrical materials are listed as complying with standards of Underwriters Laboratories, Inc. or other equivalent nationally recognized standards, and comply with the following: (i) approaches to buildings and any spaces within the buildings occupied by people, machinery, or equipment have fixtures for lighting; (ii) parking lots have fixtures for lighting to provide effective light levels (iii) receptacles and receptacle cover plates on the electrical emergency system are red; (iv) the activating device for nurse call stations are of a contrasting color to the adjacent floor and wall surfaces to make it easily visible in an emergency; (v) fuel storage capacity of the emergency generator permits continuous operation of the facility for 48 hours; and (vi) building electrical services connected to the emergency electrical source comply with the specific rules for each licensure category; (u) at least one drinking fountain, toilet, and handwashing facility is available on each floor for individuals with disabilities; and (v) each room required to be accessible to a person utilizing a wheelchair is ADSAD-compliant. R432-4-20. General Construction, Patient Service Facilities. (1) This section supersedes any conflicting standard, guideline or rule. (2) The licensee shall ensure that the following construction standards are met: (a) nurse station locations permit visual observation of traffic into the unit; (b) emergency department pediatric rooms provide soundproofing with a sound transmission class (STC) rating for walls and ceiling assemblies of not less than 50; (c) exterior portable decontamination units are acceptable to meet the requirement for emergency department decontamination and may be provided in lieu of decontamination rooms within the building, and portable units have the capability for heating shower water and for heating ventilation air; (d) a patient hygiene shower with direct access to a sink and toilet is provided in the emergency department; (e) a bereavement room in the emergency department is provided; (f) separate pediatric and adult post anesthesia care rooms are provided; and (g) hyperbaric suites meet the requirements of this section. (3) A licensee whose acute care hospital beds swing to nursing home care and payment shall additionally comply with Rule R432-5. (4) A hospital licensee shall have at least one nursing unit of at least six beds containing patient rooms, patient care spaces, and service areas and shall ensure the following: (a) when more than one nursing unit shares spaces and service areas, as permitted in this rule, the service areas are contiguous to each nursing unit served; (b) identifiable spaces are provided for each of the required services; and (c) facility services are accessible from common areas without compromising patient privacy. (5) The licensee shall ensure that patient rooms are compliant with the individual construction rule for the license category and the following: (a) the closet in each patient room is a minimum of 22 inches deep by at least 22 inches wide, and high enough to hang full length garments and to accommodate two storage shelves; and (b) pediatric units have at least one tub room with a bathtub, toilet and sink convenient to the unit. The tub room may be omitted if each patient room contains a tub in the toilet room. (6) The licensee shall provide linen services as follows: (a) laundry may be done within the facility, in a separate building on or offsite, or in a commercial or shared laundry; (b) if laundry is processed by an outside commercial laundry, the licensee shall provide the following: (i) a separate room for receiving and holding soiled linen until ready for transport; (ii) a central, clean linen storage and issuing room to accommodate linen storage for four days’ operation or two normal deliveries, whichever is greater; and (iii) handwashing facilities in each area where un-bagged, soiled linen is handled; (c) if the licensee processes their own laundry, either within the facility or in a separate building, the licensee shall provide the following: (i) a receiving, holding, and sorting room for control and distribution of soiled linen; (ii) a washing room with handwashing facilities and commercial equipment that can process a seven-day accumulation of laundry within a regularly scheduled work week; (iii) a drying room with dryers adequate for the quantity and type of laundry being processed; and (iv) a clean linen storage room with space and shelving adequate to store one half of any linens and personal clothing being processed; (d) soiled linen chutes discharge directly into the receiving room or in a room separated from the washing room, drying room and clean linen storage; and (e) the licensee may provide prewash facilities in the receiving, holding, and sorting rooms. (7)(a) If laundry is processed by the licensee, either a two-or three-room configuration may be used. (b) The licensee shall ensure that a two-room configuration consists of the following: (i) a room housing soiled linen receiving, sorting, holding, and prewash facilities, washers, and handwashing facilities; and (ii) a room housing dryers, clean linen folding, sorting, and storage facilities, and handwashing facilities. (c) The licensee shall ensure that a three-room configuration consists of the following: (i) a soiled linen receiving, sorting, holding room with prewash, and handwashing facilities; (ii) a combination washer and dryer room arranged so linen flows from the soiled receiving area to the washers, to the dryers, and then to clean storage; and (iii) a clean storage room with folding, sorting, storage, and handwashing facilities. (d) The licensee shall ensure: (i) physical separation is maintained between rooms by self-closing doors; (ii) air movements are from the clean area to the soiled area and air from the soiled area is exhausted directly to the outside; (iii) handwashing sinks are provided and located within the laundry areas to maintain the functional separation of the clean and soiled processes; (iv) rooms are arranged to prevent the transport of soiled laundry through clean areas and the transport of clean laundry through soiled areas; (v) convenient access to employee lockers and lounges is provided; (vi) storage for laundry supplies is provided; and (vii) a cart storage area for separate parking of clean and soiled linen carts is provided out of normal traffic paths. R432-4-21. Penalties. (1) The department may assess a civil money penalty of up to $10,000 and deny approval for patient utilization of new or remodeled areas if a health care provider does not submit architectural drawings to the department. (2) The department may assess a civil money penalty of up to $10,000 if the licensee fails to follow department-approved architectural plans. (3) The department may assess a civil money penalty of up to $1,000 per day for each day a new or renovated area is occupied before licensing agency approval. KEY: health care facilities Date of Enactment or Last Substantive Amendment: February 21, 2012 Notice of Continuation: January 29, 2018 Authorizing, and Implemented or Interpreted Law: [26-21-5; 26-21-16]26B-2-202 R432. Health and Human Services, Health Care Facility Licensing. R432-4. General Construction. R432-4-1. Authority. This rule is authorized by Section 26B-2-202. R432-4-2. Purpose. The purpose of this rule is to promote the health and welfare of individuals receiving services by establishing design and construction requirements for the following types of heath care facilities: (1) general hospitals; (2) specialty hospitals; (3) ambulatory surgical centers; (4) nursing care facilities; (5) inpatient hospitals; (6) birthing centers; (7) abortion clinics; (8) end stage renal disease facilities; (9) small health care facilities; (10) critical access hospitals; and (11) rural access hospitals. R432-4-3. Definitions. (1) Definitions of Rule R432-1 additionally apply. (2) “Construction Documents” means written, graphic, and pictorial documents prepared or assembled for describing the design, location, and physical characteristics of the elements of a project necessary for obtaining a building permit and license for operation. R432-4. General Site Design. (1) The licensee shall ensure the facility meets the requirements of the functional program as outlined in Section R432-4-9. (2) When the terms “room” or “office” are used in any construction rule under Title R432, they describe a specific, separate, enclosed space for a particular function or service. When the term “area” is used or any other term excluding “room” or “office”, multiple functions may be accommodated in that space. (3) The licensee shall ensure: (a) the site of the licensed facility is accessible to both community and service vehicles; (b) utilities, including culinary water, power, sanitary sewage and natural gas, if required are available to the site; (c) fire apparatus access roads are provided and maintained in accordance with statewide adopted codes and as approved by the local authority having jurisdiction; (d) paved walkways are provided for pedestrian traffic and wheeled mobility equipment from every required exit to a dedicated public way; and (e) paved roads are provided within the property for access to entrances and service areas;. (4)(a) A licensee that provides an emergency department shall provide well-marked emergency access to facilitate entry from public roads serving the site. (b) The licensee shall ensure vehicular or pedestrian traffic does not conflict with access to the emergency service area. (c) The licensee shall ensure the emergency entrance is covered to protect patients from the weather during transfer from automobile or ambulance. (5) The licensee shall provide parking in accordance with local zoning ordinances. (6) The licensee shall provide parking spaces for disabled a person that are ADASAD-compliant, and parking spaces are directly accessible to the facility without the need to go behind parked cars or cross vehicle traffic lanes. R432-4-5. Standards and Codes Compliance. (1) Each licensee may access and review the most current and archived standards and guidelines utilized by the office in determining compliance with this rule in the Rule R432-4 rule interpretation manual that may be found on the DLBC website at dlbc.utah.gov. (2) The licensee shall obtain a certificate of occupancy from the local building official having jurisdiction for any new construction, major remodeling or addition before utilization. (3)(a) Except as outlined in Subsection 432-4-6(1), the licensee shall ensure that construction complies with the construction codes, standards, rules and guidelines in effect on the day the construction documents are first submitted to the department for review. (b) The licensee shall ensure that an existing licensed health care facility conforms to department construction rules in effect at the time of initial facility licensure. (c) The licensee shall comply with requirements for new construction for: (i) an existing, currently licensed facility changing classification; (ii) an existing, currently licensed facility adding a new license classification; (iii) relicensing an existing facility whose license has lapsed or been terminated; or (iv) as required by Section R432-4-6. (4)(a) The licensee shall comply with each applicable rule under Title R432 and ensure any necessary equipment is provided to meet the care and safety needs of each patient before utilizing the facility. (b) If a conflict exists between Rule R432-4 and any other rule requirement of Title R432, the individual rule category requirement shall govern. (c) If a conflict exists between Rule R432-4 and an applicable code or guideline, the most restrictive code or guideline shall govern. (d) If any authority having jurisdiction adopts more restrictive requirements than requirements of Rule R432-4, the more restrictive requirement shall govern. (5)(a) In addition to the department requirements, the licensee shall comply with any additional law, ordinance, code, standard, and guideline before occupying any space to provide healthcare to a patient. (b) The licensee shall make compliance documentation available to the department upon request. (6)(a) When compliance can only be verified through testing, the department may require the licensee to provide test reports and certification as evidence of compliance. (b) The licensee shall ensure the test methods are done by an approved agency in compliance with recognized test standards. R432-4-6. Additions, Alterations, Repairs, Refurbishing, Renovation, and Remodeling. (1) If the remodeled or refurbished area or addition in any building, wing, floor, room, or service area of a building exceeds 50% of the total square foot area of the building, wing, room, floor, or service area, the licensee shall ensure the entire building, wing, room, floor, or service area is brought into compliance with codes and rules governing new construction that are in effect on the date the construction documents are submitted to the department. (2) During new construction, additions and remodels, the licensee shall maintain the safety level that existed before the start of work. (3) The licensee shall ensure that projects involving remodeling, refurbishing or additions to existing buildings are scheduled and phased to minimize disruption to the occupants of facilities and to protect the occupants against construction traffic, dust, and dirt from the construction site. (4) The licensee shall maintain documentation of compliance with codes, regulations and standards regarding paint, carpet, wall coverings and other new materials installed as part of a refurbishing project. (5) The licensee shall ensure that any new materials and installation comply with any applicable rules and codes in effect on the date the construction documents are submitted to the department. R432-4-7. Campus and Contracted Facilities. The licensee shall ensure any housing, treatment, diagnostic areas and facilities utilized by a patient admitted to a licensed health care facility are constructed in accordance with the requirements of Rule R432-4 if: (1) the area will be used by a patient who is physically or mentally incapable of taking independent life-saving action in an emergency; or (2) the prescribed or administered treatment makes the patient incapable of taking independent life-saving action: (a) in an emergency; or (b) due to physical or chemical restraints. R432-4-8. Department Construction Plan Review. (1) Before submitting documents for a construction plan review, the licensee may schedule a conference with department representatives, the licensee's architect, and the licensee to outline the required plans review process. (2) The licensee shall submit the following for department review: (a) a notice of intent; (b) a functional program as outlined in Section R432-4-9; (c) construction documents; and (d) any other documents that verify compliance with any applicable code, standard, or rule. (3) The licensee shall ensure that the seal of a Utah licensed architect is affixed to any working drawings and specifications for new construction, additions, or remodeling, in compliance with Section 58-3a-602. (4) The licensee shall pay a construction plan review fee and construction inspection fee in accordance with the fee schedule approved by the Legislature. (5) Construction plan approval by the department does not relieve the licensee of responsibility for full compliance with Rule R432-4. (6)(a) Construction plan approval expires 12 months after the date of the department's approval letter, or the latest plan review correspondence between the licensee and the department, if construction has not commenced. (b) For the department to restore or reconsider approval, the licensee shall: (i) resubmit construction documents; (ii) submit a new plan review fee; and (iii) obtain a new letter of approval from the department. R432-4-9. Functional Program. (1) The licensee shall ensure the functional program includes the following: (a) the purpose and proposed license category of the facility; (b) services offered, including a detailed description of each service; (c) ancillary services required to support each function or program; (d) the licensee’s inter-departmental relationships; (e) services offered under contract by outside providers and the required in-house facilities to support these services; (f) services shared with other licensure categories or functions; (g) a description of anticipated inpatient workloads; (h) a description of anticipated outpatient workloads; (i) physical and mental condition of intended patients; (j) patient age range; (k) ambulatory condition of intended patients, including non-ambulatory or ambulatory; (l) type and use of general or local anesthetics; (m) use of physical or chemical restraints; (n) special requirements that could affect the building; (o) area requirements for each service offered, stated in net square feet; (p) seclusion treatment rooms, if provided, including staff monitoring procedures; (q) exhaust systems, medical gases, laboratory hoods, filters on air conditioning systems, and other special mechanical requirements; (r) special electrical requirements; (s) x-ray facilities, nurse call systems, communication systems, and other special systems; (t) a list of specialized equipment that could require special dedicated services or special structures; (u) a description of how essential core services will accommodate increased demand, if a building is designed for expansion; (v) inpatient services, treatment areas, or diagnostic facilities planned or anticipated to be housed in other buildings; (w) the construction type of any other buildings; (x) description of protections from the weather for patients during transport between buildings; and (y) an infection control risk assessment to determine the need for the number and types of isolation rooms. (2) Whenever a rule or guideline is in conflict with this section, the conflicting rule or guideline shall govern. R432-4-10. Construction Documents. (1) The licensee shall submit one printed set of construction documents, including drawings and specifications representing any products and materials and show any equipment necessary for the construction and operation of the proposed work. (2) The licensee shall ensure drawings are drawn to scale and include the following information describing the work: (a) a list of applicable building codes; (b) construction-type according to the National Fire Protection Association Life Safety Code construction-type classifications; (c) location of the building on the site and access to the building for public, emergency, and service vehicles; (d) site grading and drainage; (e) any unusual site conditions, including easements that might affect the building; (f) means of egress; (g) subdivision of smoke compartments; (h) relationships of departments to each other, to support facilities, and to common facilities; (i) relationships of rooms and spaces within departments; (j) number of inpatient beds; (k) total square footage area of each story of the building for new construction and each story impacted by new work in an existing building; (l) total square footage of any addition, alteration, repair, renovation, refurbishment or remodel of an existing facility; (m) square footage area and dimensions of rooms; (n) location and size or capacity of any public utilities; (o) engineered drawings and specifications for mechanical, electrical, plumbing, and auxiliary systems; (p) designations for the installation of equipment that requires dedicated building services, special structure or that require a major function of space. (3) If during construction plan review or during construction, the work deviates from the approved construction plan, the licensee shall submit any revised construction documents showing the extent and scope of the changes to the department for review and approval. R432-4-11. Construction Without Construction Plan Approval. If construction is commenced before the department issues the construction plan approval, the department may issue a license only after as-built drawings have been approved by the department and the department has conducted a construction inspection. R432-4-12. Existing Buildings Without Plans. (1) If plans are not available for existing buildings or for facilities requesting an initial license or license category change, the licensee may submit to the department the following information: (a) a functional program described in Section R432-4-9; and (b) a report identifying modifications to the building required to bring it into compliance with construction rules for the requested licensure category. (2)(a) The department shall review the material submitted and provide a letter of approval or rejection to the licensee. (b) The department may provide a report of modifications required to comply with construction standards. (3) The licensee shall request and schedule a department follow-up inspection upon completion of modifications. R432-4-13. Construction Inspections. (1) The department may conduct interim inspections during construction. (2) Before the department conducts a final construction inspection, the licensee shall pay the department construction plan review fee and inspection fee in accordance with the established fee schedule. (3) The licensee shall schedule a final construction inspection with the department when the project is complete and furnishings and equipment are in place before utilization. (4) The licensee shall correct any noncompliant items before licensure and utilization. R432-4-14. Outpatient Unit Features. (1) If a building entrance is used to reach outpatient services, the licensee shall ensure the entrance is at grade level, clearly marked, and located to minimize the need for outpatients to traverse other program areas. (2) The licensee shall ensure the outpatient surgery discharge location provides protection from the weather by canopies that extend from the building to permit sheltered transfer to a vehicle. (3) The licensee may utilize a shared lobby in a multi-occupancy building if the design prohibits unrelated traffic within or through units or suites of the licensed health care facility. R432-4-15. General Construction. (1) This section supersedes any design and construction standards or requirements as outlined in Subsection R432-4-5(1). (2) The licensee shall ensure compliance with the physical facility and construction requirements as follows: (a) yard equipment and supply storage areas are located so that equipment may be moved directly to the exterior without passing through building rooms or corridors; (b) sanitary storage and treatment areas are provided for the disposal of each category of waste, including hazardous and infectious wastes using techniques acceptable to the Utah Department of Environmental Quality, and the local health department; (c) rooms intended for 24-hour occupancy are provided with a window to the exterior or to a courtyard open to the sky: (d) if windows in 24-hour occupancy rooms are operable, the licensee shall ensure: (i) they are equipped with insect screens; (ii) the operation is restricted to a maximum opening of six inches to prevent escape or suicide; and (iii) openings are restricted regardless of the method of operation or the use of tools or keys; (d) trash chutes, laundry chutes, dumb waiters, elevator shafts, and other similar systems do not pump contaminated air into clean areas; (e) ADASAD-compliant grab bars are provided in each patient bathtub and shower; (f) ADASAD-compliant grab bars are provided at the side of each public and patient toilet facility; (g) each patient handwashing fixture has a mirror; (h) patient toilet and bathrooms that are required to be accessible to individuals utilizing wheelchairs have mirrors installed at appropriate heights and are ADASAD-compliant; (i) if showers or tubs contain soap dishes or shelves, they are recessed; (j) cubicle curtains and draperies are affixed to permanently mounted tracks or rods. Portable curtains or visual barriers are not permitted; (k) floors and bases of kitchens, toilet rooms, bathrooms, janitor's closets, and soiled workrooms are homogenous and coved, and other areas subject to frequent wet cleaning have coved bases that are tight fitting to the floor; (l) acoustical treatment for sound control is provided in areas where sound control is needed, including corridors in patient areas, nurse stations, dayrooms, recreation rooms, dining areas, and waiting areas; (m) carpet and padding in institutional occupancy patient areas, except public lobbies and offices is stretched taut and free of loose edges to prevent tripping; (n) signs are provided as follows: (i) there are general and circulation direction signs in corridors; (ii) there is identification on or by the side of each door; and (iii) there are emergency evacuation directional signs; (o) elevators intended for patient transport are able to accommodate a gurney with attendant and have minimum inside cab dimensions of 5'8" wide by 8'5" deep and a minimum clear door width of 3'8"; (p) any room and occupied area in the facility provides for ventilation as follows: (i) natural window ventilation may be used for ventilation of non-sensitive areas and patient rooms when weather conditions permit; (ii) mechanical ventilation is provided during periods of temperature extremes; (iii) bottoms of ventilation openings are located at least three inches above the floor; (iv) supply and return systems are in ducts; (v) common returns using corridors or attic spaces as plenums to recycle air are prohibited; (vi) air may be recycled through plenum returns for heating, ventilation and air conditioning (HVAC) systems serving only nonpatient care areas; and (vii) evaporative cooling where the airstream is exposed to a wet coil, a mat, or an open reservoir, are prohibited except for laundry processing areas and kitchen hoods that provide 100% exhaust air; (q) except in general hospitals, specialty hospitals, and nursing care facilities, hot water recirculation is not required if the linear distance along the supply pipe from the water heater to the fixture does not exceed 50 feet; (r) bedpan washing devices may be deleted from inpatient toilet rooms where a separate and specific soiled utility room is located within the unit that includes bedpan washing capability; (s) building sewers discharge into a community sewer system. If a community system is not available the licensee shall treat its sewage in accordance with local requirements and Utah Department of Environmental Quality requirements; (t) dishwashers and other kitchen food storage and cooking appliances are National Sanitation Foundation (NSF) approved and have the NSF seal affixed; (u) electrical materials comply with the following: (i) approaches to buildings and any spaces within the buildings occupied by people, machinery, or equipment have fixtures for lighting; (ii) receptacles and receptacle cover plates on the electrical emergency system are red; and (iii) the activating device for nurse call stations are of a contrasting color to the adjacent floor and wall surfaces to make it easily visible in an emergency; (v) fuel storage capacity of the emergency generator permits continuous operation of the facility for 48 hours; (w) building electrical services connected to the emergency electrical source comply with the specific rules for each licensure category; and (x) at least one drinking fountain, toilet, and handwashing facility is available on each floor for individuals with disabilities; R432-4-16. General Construction, Patient Service Facilities. (1) This section supersedes any conflicting standard, guideline or rule. (2) The licensee shall ensure that: (a) nurse station locations permit visual observation of traffic into the unit; (b) emergency department pediatric rooms provide soundproofing with a sound transmission class (STC) rating for walls and ceiling assemblies of not less than 50; (c) exterior portable decontamination units are acceptable to meet the requirement for emergency department decontamination and may be provided in lieu of decontamination rooms within the building, and portable units have the capability for heating shower water and for heating ventilation air; (d) a patient hygiene shower with direct access to a sink and toilet is provided in the emergency department; (e) a bereavement room in the emergency department is provided; (f) separate pediatric and adult post anesthesia care rooms are provided; and (g) hyperbaric suites meet the requirements of this section. (3) A licensee whose acute care hospital beds swing to nursing home care and payment shall additionally comply with Rule R432-5. (4) Except in a rural emergency hospital, a hospital licensee shall have at least one nursing unit of at least six beds containing patient rooms, patient care spaces, and service areas and shall ensure the following: (a) when more than one nursing unit shares spaces and service areas, as permitted in this rule, the service areas are contiguous to each nursing unit served; (b) identifiable spaces are provided for each of the required services; and (c) facility services are accessible from common areas without compromising patient privacy. (5) The licensee shall ensure that patient rooms are compliant with the individual construction rule for the license category and the following: (a) the closet in each patient room is a minimum of 22 inches deep by at least 22 inches wide, and high enough to hang full length garments and to accommodate two storage shelves; and (b) pediatric units have at least one tub room with a bathtub, toilet and sink convenient to the unit. The tub room may be omitted if each patient room contains a tub in the toilet room. (6) The licensee shall provide linen services as follows: (a) laundry may be done within the facility, in a separate building on or offsite, or in a commercial or shared laundry; (b) if laundry is processed by an outside commercial laundry, the licensee shall provide the following: (i) a separate room for receiving and holding soiled linen until ready for transport; (ii) a central, clean linen storage and issuing room to accommodate linen storage for four days’ operation or two normal deliveries, whichever is greater; and (iii) handwashing facilities in each area where un-bagged, soiled linen is handled; (c) if the licensee processes their own laundry, either within the facility or in a separate building, the licensee shall provide the following: (i) a receiving, holding, and sorting room for control and distribution of soiled linen; (ii) a washing room with handwashing facilities and commercial equipment that can process a seven-day accumulation of laundry within a regularly scheduled work week; (iii) a drying room with dryers adequate for the quantity and type of laundry being processed; and (iv) a clean linen storage room with space and shelving adequate to store one half of any linens and personal clothing being processed; (d) soiled linen chutes discharge directly into the receiving room or in a room separated from the washing room, drying room and clean linen storage; and (e) the licensee may provide prewash facilities in the receiving, holding, and sorting rooms. (7)(a) If the licensee processes their own laundry, the licensee may use either a two-or three-room configuration. (b) The licensee shall ensure that a two-room configuration consists of the following: (i) a room housing soiled linen receiving, sorting, holding, and prewash facilities, washers, and handwashing facilities; and (ii) a room housing dryers, clean linen folding, sorting, and storage facilities, and handwashing facilities. (c) The licensee shall ensure that a three-room configuration consists of the following: (i) a soiled linen receiving, sorting, holding room with prewash, and handwashing facilities; (ii) a combination washer and dryer room arranged so linen flows from the soiled receiving area to the washers, to the dryers, and then to clean storage; and (iii) a clean storage room with folding, sorting, storage, and handwashing facilities. (d) The licensee shall ensure: (i) physical separation is maintained between rooms by self-closing doors; (ii) air movements are from the clean area to the soiled area and air from the soiled area is exhausted directly to the outside; (iii) handwashing sinks are provided and located within the laundry areas to maintain the functional separation of the clean and soiled processes; (iv) rooms are arranged to prevent the transport of soiled laundry through clean areas and the transport of clean laundry through soiled areas; (v) convenient access to employee lockers and lounges is provided; (vi) storage for laundry supplies is provided; and (vii) a cart storage area for separate parking of clean and soiled linen carts is provided out of normal traffic paths. R432-4-21. Penalties. Any licensee who violates provisions of this rule may be subject to civil money penalties enumerated in Section 26B-1-224, up to: (1) $5,000 if the licensee fails to follow department-approved architectural plans; and (2) $1,000 per day for each day a new or renovated area is occupied before receiving department approval. KEY: health care facilities Date of Enactment or Last Substantive Amendment: February 21, 2012 Notice of Continuation: January 29, 2018 Authorizing, and Implemented or Interpreted Law: [26-21-5; 26-21-16]26B-2-202 This rule will be out for public comment for the next 30 days. The office welcomes any comments regarding this rule at dlbc@utah.gov. OL will address any comments at the end of the comment period either through clarifying language in the interpretation manual or refiling with changes if necessary. The interpretation manual will be in draft format until the rule is finalized and activated, at which time it will be sent to all providers along with the rule interpretation manual. Training will additionally be provided as needed following the release of the rule and manual. Doug Banks motioned to approve the rule as written with any addition from the Governor’s Office. Debora Escalante second the motion. All other committee members were in favor. new business noncompliance sanctions report kristi grimes This information is provided as a handout to our members & to the public that attend in person & online. It is also provided on the Public Notice Website along with the meeting minutes (written & audio) This handout will no longer be provided during these meeting since our website dlbc.utah.gov now displays 36 months of history for all licensed facilities. Facility history past the 36 months will require a GRAMA request. update provider compliance history simon bolivar |
| You can now search for provider licensing or certification history on our website dlbc.utah.gov. Click on Provider Sanctions and select Child Care, Health Facilities or Human Services. All warnings and citations for the last 36 months will be available for viewing. A GRAMA request can be requested if someone is wanting more than 36 months’ worth of history. |
| Online payments & provider portal sarah atherton |
| Providers now have the ability to make payments online through a state secure payment process on our website. Payments received will be processed on the next business day. A $2.00 non-refundable bank processing fee will be charged per transaction. A transaction can consist of multiple payments. There is also a video tutorial on our website that goes over the payment process. Plan review fees will be invoice out. The invoice will provide instructions on how to pay. As soon as a provider exists in our system, they are assigned a provider portal. Access and non-access to the portal is based on the email address tied to the portal. Three personal business emails can be tied to the portal (we advise against using universal emails). Go to ccl.utah.gov to access your portal. |
|  | Training for providers | simon bolivar |
| The Office of Licensing would like to do an online training course for providers on the New Inspection Process. One session will be in the morning at 10am and one session will be in the afternoon at 4pm. The training will be recorded so people who can’t attend can watch later when time permits. The training will be held on a Monday & Tuesday. The first training is scheduled for 11.20.23. |
| OTHER BUSINESS |
|  | Meeting time frame | simon bolivar |
| The HFC meeting has always been from 9am to noon quarterly. The meetings generally don’t end up needing this much time so Doug Banks motioned that the HFC committee meeting time be reduced by one hour and be scheduled from 9am to 11am quarterly. Dr. David Sundwall seconded the motion. All other committee members were in favor. |
| Abe Lindman motioned to adjourn the meeting, Debora Escalante seconded the motion. All other committee members were in favor.SINESS |

| 2022-2023 | UPCOMING MEETINGS | dhhS |
| --- | --- | --- |
| February 14, 2024 May 8, 2024 September 11, 2024 November 13, 2024 |